## Slide 1
www.posishome.co.kr
www.posistechnology.com
Posis Technology
Basic of Light & Optics

## Slide 2
1. Reflection and Transmittance
# Reflection
θ 1
θ 2
θ 1 = θ 2
# Transmittance
Intensity of Incident
Beam ≡ 100
Intensity of
Transmittance
Beam < 100
Transmittance =
Normal Direction
Transmittance < 1
Intensity of Incident Beam
Intensity of Transmittance Beam

## Slide 3
2. Refraction and diffraction
# Refraction
n1
n1
n2
# Diffraction
Ex) Pinhole on Film
Ex) fisheye, gel, Bubble on Film
A
B

## Slide 4
3. Light Intensity of Reflection Object
Intensity of Incident Beam
≃ Intensity of Reflection Beam
Intensity of Reflection Beam = 0
Intensity of Incident Beam
< Intensity of Reflection Beam
Intensity of Incident Beam
< Intensity of Reflection Beam

## Slide 5
4. Light Intensity of Transmittance Object
Intensity of
Transmittance Beam
=
>
>

## Slide 6
5. Light for Reflection Object
# Cross Light
# On-Axis Light
# Slanted Light

## Slide 7
6. Light for Transmittance Object

## Slide 8
7. Type of Lighting System

## Slide 9
* I : Incident ray
R : Reflection
A : Absorption
DR : Diffuse Reflection
BS : Back Scattered radiation
8. Light Angle and Test Condition

## Slide 10
* S/N = Max. Pixel Value
– Min. Pixel Value
Delta = Max. Pixel Value
– Min. Noise Spike
9. Test condition

## Slide 11
* Bright-field, Dark-field, Oblique mode
a)
b)
c)
a)
b)
c)
b)
a)
3 cameras
2 light sources(darkfield ,brightfield )
but different light intensity
10. Test Result (example )
Bright-field mode
Dark-field mode
Oblique mode

## Slide 12
11. Image Signal
# Beam Profile of each signal from cross Light Signal
Even Signal
Odd Signal
Differentiate
A
B
C
D
A
B
C
D

## Slide 13
12. Threshold
# LED Cross Light
A
B
C
D
Reference( )
Positive( ), Negative( )
Threshold
( O, O )
( O, O )
( +, - )
( -, + )

## Slide 14
13. Threshold
Differentiate
Threshold